HPLC Simulator Homework

Before viewing the simulator, attempt to answer the following question.  These questions are based on using liquid chromatography for the analytical separation of phenol, acetophenone, and p-nitrotoluene.

1. a) Draw the structures of three compounds. b) List them in the order of least polar to most polar.

2. What order would you expect these compounds to elute on a C-18 column?

3. How would you expect the elution times for these molecules to change if the mobile phase was adjusted from 100% water to 50% (%v/v) acetonitrile to 100% (%v/v) acetonitrile?

4. What would you expect to happen to the theoretical plate height if:

a. the flow rate was increased significantly (2.0 mL/min to 6.0 ml/min) ?

b. the diameter of the packing particles was increased (3.0 m to 6.0 m)

c. the length of the column is doubled (100 mm to 200 mm)

5. How would the chromatogram be affected in each of above scenarios?

Go to the website: www.hplcsimulator.org

- Edit the compound list at the bottom of the screen to contain only the three compounds given above.

- Use the simulator to make the adjustments mentioned above.  How does the provided chromatogram match your prediction?